
[image: image1.wmf]100

%

´

+

=

FN

TP

TP

y

Sensitivit

International Journal of Computer Sciences and Engineering    Open Access
Research Paper
                                   Vol-6, Special Issue-4, May 2018                          E-ISSN: 2347-2693
Tumorous Slices Classification from MRI Brain Volumes using Block based Features Extraction and Random Forest Classifier

P. Sriramakrishnan1, T. Kalaiselvi2*, P. Nagaraja and K. Mukila3
1,2,3 Department of CSA, The Gandhigram Rural Institute (Deemed to be University), Gandhigram, Tamil Nadu, India.

*Corresponding Author:   kalaiselvi.gri@gmail.com,   Tel.: 9486362843
Available online at: www.ijcseonline.org 
Abstract— The proposed work presents a fully automatic computer-aided diagnosis (CAD) system for magnetic resonance images (MRI) of brain tumor classification. Tumorous slices classification is one of the preprocess steps for brain tumor segmentation and visualization. The proposed work classifies each scan image of MRI volumes into normal or tumorous using block based feature extraction and random forest (RF) classifier. The given image has divided into 8 × 8 non overlapping blocks and extracted three Haralick features such as Energy, inverse difference moment (IDM) and directional moment (DM) from each block. These three extracted features of training blocks are helped to train the RF classifier. The MRI materials used are gathered from multimodal brain tumor segmentation (BraTS 2015) training dataset comprises 274 multisequence MR scans of glioma patients. The experimental results of proposed technique are validated using the measures sensitivity, specificity, accuracy, missed alarm (MA) and false alarm (FA). The average results of the proposed method reached upto 94% of sensitivity, 94% of specificity and 95% of accuracy in BraTS 2015. The error rates measures 1% of slices were missed to identify as tumor and 3% of slices spuriously detected as tumor. The performance of the proposed work was compared with eight existing methods. In summary, the results showed that the proposed method using RF classifier given effective classification for separating normal and tumorous slices from MR brain volumes. 
Keywords—  Tumor detection, Random forest, Feature extraction, Classification, BraTS dataset.
I.  Introduction 
Brain tumor is uncontrolled growth of abnormal cells development in brain tissues. Brain tumors have irregular shape, size and presence in any location [1]. Brain tumors classified into two types: primary, secondary brain tumor. Primary brain tumor starts and spread into brain itself whereas secondary tumor’s initial origin maybe anywhere in the body and starts to spread inside the brain. Brain tumor symptoms are headache, vomiting, vision problems and mental changes and these may vary based on the tumor location.
In recent years, brain tumor diagnosis and treatment planning significantly improved by medical imaging modalities [2]. They are X-rays, computed tomography (CT), magnetic resonance imaging (MRI) and ultrasound imaging. Among them, MRI is a non-invasive technique to early detection of tumor and thus increases survival rate of the patient. MRI provides soft tissue characteristics of brain parts using radio frequency waves and powerful magnetic field. The MR images give high level information about normal and tumorous parts of the brain and thus improve the medical diagnosis process. 

Manual diagnosis of MR images is a time consuming and painstaking task to the clinician due to large number of stack of 2D slices produced by scanner with partial volume effect (PVE) and intensity non uniformity (INU) artifacts [3]. Recent technologies overcome these difficulties and help to accelerate the diagnosis process along with the modern computers with accurate and quick results. Past few decades, several automatic methods have been developed for MR image classification to assist the clinician in diagnosis process [4].  
MR image classification is always demand in the field of clinical and research studies due to its nature of large number of slices per patient with varied modalities and image types. Each abnormal volume, for example tumor affected patient volume contains both normal and tumorous slices. Hence MR image classification techniques help to focus only with the tumorous slices and thus quicken the medical expert’s diagnosis procedures. Several classifiers are available at machine learning scenario. They are artificial neural networks (ANN), support vector machine (SVM), k-nearest neighbor (KNN), random forest (RF), and deep leaning neural network (DNN) [5 – 9]. The proposed work uses the RF classifier to classify the MR image of tumor volume into normal or tumorous images.
Feature extraction is generally combined with machine learning algorithms for object detection, content based image retrieval, and texture and image classification. Feature extraction is one of the dimensionality reduction processes to represent the part of the data using feature vectors [10]. Numerous features are possible and they are generally categorized into texture and statistical features. Feature extraction may depend on applications and they are used to train the classifier.

Several automatic methods have been proposed in recent time for MR image classifications using feature extraction. Nayak et al., developed a automatic method for brain MR image classification [11]. They extracting features from input image using two-dimensional discrete wavelet transform (DWT). Principal component analysis (PCA) helps to reduce the dimension of the features and applied to RF classifier. DWT features with RF classifier yielded the results upto 99% of accuracy for classification. Gupta et al., proposed a method for MR image classification and segmentation [12]. They used DWT for feature extraction and SVM, RF for classification. The method reported 90% sensitivity, 100% specificity and 95% accuracy. El-Dahshan et al., developed a hybrid technique for MR image classification. Feature extraction and reduction done by DWT and PCA respectively [13]. Feed forward back-propagation artificial neural network (FP-ANN) and k-nearest neighbor (KNN) techniques used to develop a hybrid classification. The results reached upto 97% for FP-ANN and 98% for k-NN respectively.
The main objective of this work is to propose a MR image classification using block based feature extraction and RF classifier. The proposed method includes both training and testing process. The input image has divided into 8 × 8 non overlapping blocks for feature extraction such as energy, inverse difference moment (IDM) and directional moment (DM). Experimental tests were done on BraTS 2015 dataset with 274 subjects of multisequence tumor volumes. Promising results were obtained using BraTS dataset. The rest of the paper is organized as follows; Section II describes the materials and metrics used for the experiment; Section III presents the proposed methodology for tumor detection; Section IV reports the results and discussion; finally, section V concludes the paper.
II. Materials and Metrics

 The materials used for this work is obtained from multimodal brain tumor segmentation (BraTS 2015) training datasets comprises 274 multisequence MR scans of glioma patients. Each datasets has four modalities: T1, T1c, T2, FLAIR with the dimension of 240 × 240 × 155 voxels. All images are skull stripped and resampled to isotropic 1mm × 1mm × 1mm resolution and registered with the T1c modality. The 274 datasets classified into 220 high and 54 low grade gliomas (HGGs and LGGs). BraTS 2013 training set is a subset of BraTS 2015 which contains 20 HGGs and 10 LGGs also used for this experiment. 

Some of the validation metrics were used for analyzing the classification efficiency of proposed method. They are sensitivity, specificity, accuracy, missed alarm (MA) and false alarm (FA). The precision of the classification each measured using sensitivity, specificity and accuracy as given in Eq. (1) to Eq. (3). Sensitivity calculates number of tumorous slices correctly detected out of total number of tumorous slice. Specificity calculates number of normal slices correctly classified out of total number of normal slice. Accuracy calculates total number of normal and tumorous slices correctly identified. The classification error rates measured in terms of either fail to detect the tumorous slice (missed alarm) or identify the tumorous slice which is not present (false alarm) as given in Eq. (4) and Eq. (5).
           
[image: image26.png]@
A|CSE



                         (1)
           
[image: image2.wmf]100

%

´

+

=

FP

TP

TN

y

Specificit

                         (2)
          
[image: image3.wmf]100

%

´

+

+

+

+

=

FN

FP

TN

TP

TN

TP

Accuracy

            (3)
           
[image: image4.wmf]100

%

´

=

Slices

Total

FP

MA

                        (4)
          
[image: image5.wmf]100

%

´

=

Slices

Total

FN

FA

                        (5)
where, true positive (TP) is number of tumorous slices correctly identified. True negative (TN) is number of normal slice detected correctly. False positive (FP) is number of tumorous slice incorrectly identified. False negative (FN) is number of normal slice incorrectly classified.

III. Proposed Methodology

Block diagram of the proposed method is shown in Fig. 1. From the multisequence MRI dataset, the method taking FLAIR images as input because of FLAIR suppresses the CSF signal due to long inversion time (T1) and improves the visibility of tumor than T1 and T2 scans [14]. Normal and tumorous MR images are shown in Fig. 2. The proposed 

method has both training and testing phases with same processes such as block splitting and feature extraction. 

In training and testing phases, MR FLAIR image splits into 8 × 8 non overlapping blocks as shown in Fig. 3. Block size of 8 × 8 yields optimal results than various block size ranging from 4 × 4 to 16 × 16 pixels. Three optimal features such as energy, inverse difference moment (IDM) and directional moment (DM) are chosen from Haralick [15]. This features are extracted from each block as defined in Eq. (6) - Eq. (8). Energy measures the intensity uniformity, IDM computes local homogeneity and directional moment measures the intensity alignment of an image. 

                      
[image: image6.wmf](

)

å

å

=

-

=

8

1

8

1

2

,

i

j

j

i

M

Energy

                                     (6)

                     
[image: image7.wmf](

)

(

)

å

å

=

-

-

+

=

8

1

8

1

2

1

,

i

j

j

i

j

i

M

IDM

                                (7)

             
[image: image8.wmf](

)

å

å

=

-

-

=

8

1

8

1

|

|

,

i

j

j

i

j

i

M

DM

                             (8)
where, M denotes  8 × 8 block. Table 1 reports features value for non-tumorous and tumorous blocks. The table showed a linear difference occurred between non-tumorous and tumorous blocks. Tumorous blocks were given high values for all features than non-tumorous blocks.
[image: image9.png]Times New Roman - Asebcene AaBbC: AaBbce QDB acsbce. aasbceo. assbeen:

Paste 0 Spaci... Headin eading e ubtitle  Subtle Em... Emphasis
1€ Format Painter NoSpac.. Headingl Heading2  Til Subtitle  SubtleEm.. Emphas





Figure 1. Block diagram of the proposed method

[image: image17.png]


[image: image18.png]



                                                   Figure 2. Normal and Tumorous FLAIR images

[image: image19.png]


[image: image20.jpg]



    Figure 3. Normal and Tumorous FLAIR image with 8 × 8 blocks
         Table 1. Feature extraction results for normal and Tumorous blocks

	Block Category
	Energy
	Homogeneity
	Directional Moment

	Non-tumorous
	759.51 
	1493.05
	12271

	Non-tumorous
	950.47 
	1778.05
	15551

	Non-tumorous
	1224.23 
	2888.25
	26120

	Non-tumorous
	 549.56 
	880.84
	6588

	Tumorous
	2032.67
	4889.36
	42672

	Tumorous
	2026.03
	4874.52
	42512

	Tumorous
	1931.24
	4731.74
	39574

	Tumorous
	1910.02 
	4464.41
	40749


RF is a supervised machine learning algorithm working with the concept of decision tree and each tree grown using randomization principles [16]. RF classifier helps to classify the given MR images into normal or tumorous. RF classifier classifies the image based on the training features using weighted voting technique. The weight updating computation defined as
                   
[image: image10.wmf](

)

(

)

å

=

-

-

=

S

j

c

i

c

i

i

i

j

p

j

p

S

W

W

j

j

1

ˆ

0

|

|

1

                       (9)
where,
 
 is initial weight, s is feature set from training process, random index (i) varies from 1 to total number of trees (T) and the class label 
[image: image13.wmf]j

c

 is defined as:
                           
[image: image15.wmf](

)

å

=

=

T

i

c

i

i

j

j

p

W

c

c

1

max

arg

                         (10)

In training, five thousand number of non-tumorous and tumorous blocks are used to train the RF classifier. Trained RF classifier makes the effective classification using these three features in testing process. Fig. 4 shows that the resultant images of proposed method on normal and tumorous images of Fig. 3 using RF classifier. The classifier gives binary classification results. It may be either zero or one to each block. Block with zero represents non- tumorous block and one represents tumorous block. RF Classifier classifies any tumorous blocks in the image considered as tumorous image. Fig 4 (a) shows results of all blocks are zero and classified as normal image. The classifier is given the results in white as shown in Fig. 4 (b) are considered to be tumorous image.
[image: image21.png]


[image: image22.png]




              (a)                                                (b)

Figure 4. Classification results of proposed method on Fig. 3 (a) and (b).
 (a) Normal image (b) Tumorous image

IV. Results and Discussion

The experimental setup is equipped with Intel I5 M560 @ 2.67GHz, 4 processors with 4 GB RAM. Classification performance of the proposed method compared with corresponding gold standard image given by the medical experts for BraTS dataset. Table 2 reports the quantitative validation for tumorous slice detection in BraTS 2013. Five metrics are used to report the efficiency of the classification. In general, error rate should be minimum (MA and FA) and prediction rate should be maximum (sensitivity, specificity and accuracy). Three features based  RF classifier achieved the results with 96.21% sensitivity, 96.53% specificity, 96.15% accuracy and error rates with 1.56%  MA, 2.27% FA for BraTS 2013.
Table 2. Quantitative results for tumorous slice classification in BraTS 2013

	Volume
	Sensitivity%
	Specificity%
	Accuracy%
	MA%
	FA%

	HG01
	97.10
	100.0
	98.70
	1.29
	0

	HG02
	100.0
	93.81
	96.12
	0
	3.87

	HG03
	88.15
	100.0
	94.19
	5.80
	0

	HG04
	97.01
	100.0
	98.70
	1.29
	0

	HG05
	98.61
	98.79
	98.70
	0.64
	0.64

	HG06
	91.25
	100.0
	95.48
	4.51
	0

	HG07
	98.21
	93.93
	95.48
	0.64
	3.87

	HG08
	93.15
	100.0
	96.77
	3.22
	0

	HG09
	93.055
	92.77
	92.90
	3.22
	3.87

	HG10
	100.0
	93.27
	94.83
	0
	5.16

	HG11
	95.23
	100.0
	98.06
	1.93
	0

	HG12
	87.80
	100.0
	96.77
	3.22
	0

	HG13
	86.20
	100.0
	97.41
	2.58
	0

	HG14
	93.42
	100.0
	96.77
	3.22
	0

	HG15
	98.71
	96.10
	97.41
	0.64
	1.93

	HG22
	92.95
	100.0
	96.77
	3.22
	0

	HG24
	100.0
	100.0
	100.0
	0
	0

	HG25
	100.0
	88.09
	93.54
	0
	6.45

	HG26
	92.30
	100.0
	95.48
	4.51
	0

	HG27
	89.47
	100.0
	94.83
	5.16
	0

	LG01
	93.61
	93.51
	93.54
	1.93
	4.51

	LG02
	100.0
	100.0
	100.0
	0
	0

	LG04
	100.0
	95.00
	96.77
	0
	3.22

	LG06
	100.0
	92.24
	94.19
	0
	5.80

	LG08
	100.0
	97.56
	98.06
	0
	1.93

	LG11
	100.0
	89.00
	92.90
	0
	7.09

	LG12
	100.0
	87.03
	90.96
	0
	9.03

	LG13
	100.0
	92.15
	94.83
	0
	5.16

	LG14
	100.0
	94.65
	95.48
	0
	4.51

	LG15
	100.0
	98.23
	98.70
	0
	1.29

	
	96.21
	96.53
	96.15
	1.56
	2.27


Table 3 Quantitative results for tumorous slice detection in BraTS 2015

	Volume (274) 
	Sensitivity %
	Specificity %
	Accuracy %
	MA

%
	FA

 %

	HGGs (220)
	97.10
	93.93
	95.39
	1.09
	3.52

	LGGs  (54) 
	90.73
	94.07
	95.15
	1.30
	3.31

	
	93.91
	94.00
	95.27
	1.19
	3.41


Table 3 describes the classification results for tumorous slice detection in BraTS 2015. The results tabulated in the form of HGGs followed by the LGGs dataset. The average results of the proposed method for BraTS 2015 are upto 94% of sensitivity, 94% of specificity and 95% of accuracy. The error rates are 1% of MA and 3% of FA. High contrast white matter tissues in the FLAIR images increase FA rate in the results.
Proposed results were compared with several existing methods on BraTS datasets [17 - 19] and are shown in Fig. 5. The results showed that the proposed method yielded comparable prediction with the existing methods. Average processing time taken by the tumorous slice detection process is 8.6 minutes per dataset.

[image: image16.png]Home  Inset  Pagelayout  References  Maiings  Review  View

EI) . T . B ; S ; B ; 5 ; G 5

,@\H LETD il B W™ W W . paper82-18 - MicrosoftWord - [E=SEoE ")
@

[ Avinash Method
- [ Wavelet Method
Hybrid Method 100 4
[ Histogram Method
[ Alfonse Method
Proposed Method
I Scecdhanya Method
- I Bahacure method a0
Anitha Method

0

Percentage

404

20

Sensitivity Spedficity Accuracy
- Metrics





Figure 5. Comparison among proposed and existing methods for tumorous slice detection in BraTS

V. Conclusion and Future Scope
The proposed work developed for classifying the MRI volume into normal and tumorous slices using block based three features RF classifier. Three feasible features were extracted from 8 × 8 non overlapped blocks of given image. The selected three features were given linear difference between normal and tumorous images using RF classifier. Overall classification results of the method achieved upto 94% sensitivity, 94% specificity, 95% accuracy and error rates upto 1% MA and 3% FA. In summary, proposed work was given high accuracy of tumorous slice classification from MR brain volumes using feature extraction and RF classifier. In future, processing time can be reduced using graphics processing unit (GPU) computation.

References

[1] D.L. Longo, “369 Seizures and Epilepsy Harrison's principles of internal medicine”,  18th Ed., McGraw-Hill, New York, pp. 3258, 2012.

[2] J.L. Prince, J.M. Links, “Medical Imaging Signals and Systems”, Pearson Prentice Hall, 2nd Edition, 2014.

[3] J.A. Rodger, “Discovery of medical big data analytics: improving the prediction of traumatic brain injury survival rates by data mining patient informatics processing software hybrid hadoop hive”, Informatics in Medicine Unlocked, Vol. 1, pp. 17–26, 2015.
[4] T. Kalaiselvi, P Sriramakrishnan, “Rapid brain tissue segmentation process by modified FCM algorithm with CUDA enabled GPU machine”, International Journal of Imaging Systems Technology, pp.1–12, 2018. DOI: 10.1002/ima.22267

[5] P.M. Krishnammal, SS Raja, “Automated Brain Image classification using Neural Network Approach and Abnormality Analysis”, International Journal of Engineering and Technology (IJET), Vol. 7, No.3, pp.876-886, 2015.
[6] N. Rajalakshmi, V Lakshmi Prabha, “MRI brain image classification - a hybrid approach”,  International Journal of Imaging Systems Technology, Vol. 25, No.3, pp. 226–244, 2015.

[7] R.J. Ramteke, Y. Khachane Monali, “Automatic medical image classification and abnormality detection using K-Nearest Neighbour”, International Journal of Advanced Computer Research, Vol. 2, No.4, pp. 190-196, 2012.

[8] Z. Kapas, L. Lefkovits, L. Szilagyi, “Automatic Detection and Segmentation of Brain Tumor Using Random Forest Approach”, In Modeling Decisions for Artificial Intelligence, pp. 301-312. Springer, Cham, 2016.

[9] M. Rezaei, H. Yang, C. Meinel, “Brain Abnormality Detection by Deep Convolutional Neural Network”, arXiv preprint arXiv:1708.05206. 2017 Aug 17.

[10] V.P. Gladis Pushpa Rathi, S. Palani, “Brain Tumor MRI Image Classification with Feature Selection and Extraction Using Linear Discriminant Analysis”, International Journal of Information Sciences and Techniques (IJIST), Vol.2, No.4, pp.131-146, 2012.
[11] D.R. Nayak, R. Dash, B. Majhi, “Brain MR image classification using two-dimensional discrete wavelet transform and AdaBoost with random forests”, Neurocomputing, Vol. 177, pp. 188-197, 2016.

[12] T. Gupta, P, Manocha, T.K. Gandhi, R.K. Gupta, B.K. Panigrahi, “Tumor Classification and Segmentation of MR Brain Images”, arXiv preprint arXiv:1710.11309, 2017.

[13] S.A. El-Dahshan, T. Hosny, A.M. Salem, “Hybrid intelligent techniques for MRI brain images classification”, Digital Signal Processing, Vol. 20, No. 2, pp. 433-441, 2010.

[14] M. Abdallah, M. Blonski, S. Wantz-Mezieres, Y. Gaudeau, L. Taillandier, J. Moureaux, “On the relevance of two manual tumor volume estimation methods for diffuse low-grade gliomas”, Healthcare Technology Letters, pp. 1-4, 2017.

[15] M. Robert, K. Haralick, K. Shanmugam, I. Dinstein, “Texture features for Image Classification”, IEEE Transactions on Systems and Cybernetics, Vol. 3, No. 6, pp. 610 - 621 1973.

[16] T. Ho, Kam, “Random Decision Forests”,. Proceedings of the 3rd International Conference on Document Analysis and Recognition, Montreal, pp. 278–282, 1995.

[17] T. Kalaiselvi, S. Karthigai selvi, “A Novel Wavelet based Feature Selection to Classify Abnormal Images from T2-w Axial Head Scans”, Proceedings of National Conferences on New Horizons in Computational Intelligence and Information Systems (NHCIIS), India, pp. 140 -145, 2015.

[18] [image: image23.png]


T. Kalaiselvi, P. Sriramakrishnan, “Brain Abnormality Detection from MRI of Human Head Scans using the Bilateral Symmetry Property and Histogram Similarity Measures”, The 20th International Computer Science and Engineering Conference, IEEE explore, Tailand, pp. 14 - 17 December 2016.

[19] R. Anitha, D. Siva Sundhara Raja, “Development of computer-aided approach for brain tumor detection using random forest classifier”, International Journal of Imaging Systems and Technology, pp.1–6, 2017. DOI: 10.1002/ima.22255
Authors Profile
[image: image24.jpg]


P. Sriramakrishnan is a Research Scholar (Full-time) in the Department of Computer Science and Applications, Gandhigram Rural Institute - Deemed University, Dindigul, India. He received his Bachelor of Science (B.Sc.) degree 2011 from Bharathidasan University, Trichy, Tamilnadu, India. He received Master of Computer Applications (M.C.A) degree in 2014 from The Gandhigram Rural Institute- Deemed University, Dindigul, Tamilnadu, India. He worked as Software Engineer in the Dhvani Research and Development Pvt. Ltd, Indian Institute of Technology Madras Research Park, Chennai during January 2014 – March 2015. He is currently pursuing Ph.D. degree in The Gandhigram Rural Institute - Deemed University. His research focuses on Medical Image Processing and Parallel Computing. He has qualified UGC-NET for lectureship in June 2015. 

[image: image25.png]


Dr. T. Kalaiselvi is currently working as an Assistant Professor in Department of Computer Science and Applications, The Gandhigram Rural Institute, Dindigul, Tamilnadu, India. She received her Bachelor of Science (B.Sc) degree in Mathematics and Physics in 1994 & Master of Computer Applications (M.C.A) degree in 1997 from Avinashilingam University, Coimbatore, Tamilnadu, India. She received her Ph.D degree from The Gandhigram Rural University in February 2010. She has completed a DST sponsored project under Young Scientist Scheme. She was a PDF in the same department during 20102011. An Android based application developed based on her research work has won First Position in National Student Research Convention, ANVESHAN-2013, organized by Association of Indian Universities (AUI), New Delhi, under Health Sciences Category. Her research focuses on MRI of human Brain Image Analysis to enrich the Computer Aided Diagnostic process, Telemedicine and Teleradiology Technologies.   
K. Mukila. received her Master of Computer Applications (M.C.A) degree in 2016 from E.M.G Yadava Women’s college, Madurai, Tamil Nadu, India. She is currently pursuing M.Phil in Department of Computer Science and Applications, Gandhigram Rural University, India in 2018. Her research work focuses on Medical Image Processing.
  © 2018, IJCSE All Rights Reserved                                                                                                                                        191

_1582191069.unknown

_1582191515.unknown

_1582192463.unknown

_1582192485.unknown

_1582192631.unknown

_1582192453.unknown

_1582191346.unknown

_1582191465.unknown

_1582191211.unknown

_1582191058.unknown

_1582191064.unknown

_1582191051.unknown

