
[image: image1.png]>| D1

D2

cAl

D3

cA2




International Journal of Computer Sciences and Engineering    Open Access
Research Paper
                                   Vol-6, Special Issue-4, May 2018                          E-ISSN: 2347-2693
Performance Analysis of wavelet Thresholding for Denoising EEG Signal

Dipali Sinha1*,  Thangavel K.2 

1, 2Department of Computer Science, Periyar University, Salem, Tamilnadu, India
*Corresponding Author:   deepsin.kul@gmail.com
Available online at: www.ijcseonline.org 
Abstract— Electroencephalogram (EEG) is used for detecting problems in the electrical activity of the brain associated with brain disorders. During acquisition of EEG signals various noises like electrocardiogram (ECG),electromyogram(EMG),electrooculogram(EOG)and power line interference etc. contaminates the signal, which makes the proper analysis of the signal difficult. Therefore, noise removal is an integral part of preprocessing step before signal analysis. In this paper, wavelet transform using different kind of filters like db2, db4, coif2, coif4, sym2 and sym4 is used to decompose the signal into low and high frequency components. Then, high frequency components have been thresholded at each level of decomposition. The denoised signal is reconstructed using the thresholded coefficients and the approximation coefficients. Thresholding methods such as minimaxi, Sure (Heuristic and rigorous) and Square-Root-Log are investigated to compute the threshold value. The coiflet filter at level 4 with minimax thresholding method performed better than other wavelet filters and thresholding methods in terms of Peak Signal-to-Noise Ratio (PSNR) value.
Keywords— Electroencephalogram, Wavelet Transform, Threshold, Denoising, Peak Signal-to-Noise Ratio
I.  Introduction 
Electroencephalography (EEG) is used to measure electrical activities in the brain caused by the synaptic current generated by the activated brain cells. The skull attenuates the EEG signal, which is later amplified to display. The amplitude of the brain signal lies between 0.5µV to 100µV [1]. EEG signals are classified into different frequency bands as delta (δ), theta(θ), alpha(α), beta(β) and gamma(γ). Delta waves lies between (0.5-4 Hz) and is primarily associated with the deep sleep,  theta waves exists within the range of (4-7.5 Hz), appear in children and during drowsiness or sleepiness in adults but the presence of theta waves in waking adult are abnormal and caused by pathological problem. The frequency of alpha waves lies between (8-13 Hz), these waves exists in both relaxed and awareness without attention. It is eliminated in the active state. Beta waves vary within the range of (14-30 Hz), associated with the active thinking state of a normal adult. The frequencies above 30 Hz constitute gamma range. The acquired EEG signal may be used in the diagnosis of many neurological disorders and other abnormalities.  Brain signal is often contaminated by various artifacts such as ocular, cardiac, muscle, power line noise etc. Noise removal is an in dispensable task for proper analysis of EEG signal to diagnose the abnormalities. Several denoising techniques have been developed for extracting actual signal from noisy signal.

Wavelet transform is a widely used technique in denoising images and signals because wavelet localizes the features in data at different scales, preserves the signal while removing the noise [2]. It concentrates signal features in large magnitude wavelet coefficients while the coefficients having low magnitude represents noise and these coefficients are removed without affecting the signal quality.
In this paper, discrete wavelet based denoising has been carried out to eliminate the noise from the EEG signal. In wavelet analysis, signal is decomposed in to low frequency and high frequency components, which represents noise. These high frequency components are thresholded without affecting the significant features of a signal. Denoising is achieved using hard and soft thresholding of wavelet coefficients. Different wavelet filters such as db2, db4, sym2, sym4, coif2 and coif4 have been used at different level of decomposition.
Denoising based on thresholding was proposed by Donoho and Johnston [3].In hard thresholding the coefficients below the threshold value are set to be zero, while in soft thresholding wavelet coefficients are shrinked by a quantity equal to the threshold value. In the research work DWT has been used to decompose and reconstruction of a signal.

The paper is organized as follows. Section 2 presents the literature review of wavelet based thresholding methods for signal denoising. In section 3, wavelet based denoising is presented. Section 4 provides experimental results Finally, conclusion is presented in section 5.
II. Literature Review 
Md. Mamun et al.[2], presented that four discrete wavelet functions as db4, db6, db8 and dmey, have been used to denoise the EEG signals taken from the normal and epileptic patients. Author observed that orthogonal meyer (dmey) gives the best result in denoising signal of epileptic patients and the Daubechies (db8) provides best result for eliminating noise from the healthy subjects.

Verma et al. [4], presented a comparative analysis of well-known thresholding methods for denoising audio signals of Indian musical instruments and measured the performance regarding Peak Signal to Noise Ratio (PSNR), the authors state that best PSNR values were achieved using Coif5 wavelet transform and heursure and gives minimum distortion as compared to other thresholding methods.
In [5,6] ocular artifact EOG rejection method is proposed using wavelet transform. Adaptive thresholding has been performed on ocular artifact zone rather than using the entire EEG signal which does not affect the low frequency components. Performance is evaluated using power spectral density and frequency correlation.
Al-Qazzaz et al.[7], presented various thresholding techniques such as rigrsure, heursure, sqtwolog and minimaxi with Daubechies (dB), Symlet (sym) wavelet filters for denoising EEG signals. Author used four qualitative measures such as Signal to Noise ratio (SNR), PSNR, Mean Square Error (MSE) and Cross-Correlation (XCorr) to evaluate the performance of the signal. The best results were achieved using rigrsure on soft thresholding technique.
Independent component analysis (ICA) has been widely used in denoising the signal. In [8], ocular artifact (EOG) has been removed from the EEG signal using ICA. Author state that ICA performed better than PCA and regression.

In this paper [9], EMD-DWT-CLS method has been used for denoising physiological signal of human and animals. Signal decomposition was performed using EMD, DWT for thresholding or denoising, and Constrained Least Squares (CLS) to recover the denoised signal by estimating the weights. It was observed that the proposed method outperform EMD-DWT in terms of SNR and MSE.
III.   Wavelet Based Denoising Method

The objective of this research is to recover the noise less signal as compare to original signal using mother wavelet and thresholding methods. The steps involved in reducing the noise are:

i. Decompose the noisy signal upto level N
ii. Threshold is selected and applied to detail coefficients at each level
iii. Reconstruct the signal from the thresholded coefficients

A.   Discrete Wavelet Transform
Discrete Wavelet transforms analyze the signal at a finer scale due to its multiresolution property. DWT decomposes the signal into approximation and detail coefficients by convolving the signal with low pass and high pass filter. Low frequency components are called approximation coefficients while details coefficients are high frequency components. After decomposition, the signal can be reconstructed using inverse discrete wavelet transform. A three level decomposition structure is shown in figure 1.

[image: image26.png]@
A|CSE




Fig. 1. Three level wavelet decomposition

DWT produces two coefficients at each level of decomposition, which are detail and approximation coefficients respectively. Approximation coefficients are further splitted at higher level of decomposition. Detail coefficients are then thresholded and the signal is reconstructed from the thresholded coefficients.
B.  Threshold selection method

Threshold selection is done by mathematical calculation to provide the threshold value for denoising. In this study, four thresholding methods such as rigrsure, heursure, sqtwolog and minimaxi have been considered:

1) Sqtwolog
Threshold values are calculated by using the universal method given in (1) [4]

[image: image4.png]Home | Insert

Pagelayout  References

Tmestewroman -0 - A" «7|[5}]

B
43 Copy
P romara (B2 ¢ a2 A PR

BU] fassoceoc| assoccoc AaB aasbce AAB aasbee. aasnceo aasbeen:
| Normat l

TNoSpac.. Headingl Heading2 — Ttle Subtitle  Subtie Em.. Emphasis

Clipboard. 0 Font

% # Find -

i Repiace
change

Stytess | g Select~
sy 5| edting

B. Threshold selection method

Threshold selection is dome by mathematical
calculation to provide the threshold value for
denoising. In this study, four thresholding methods
such as rigrsure, heursure, sqtwolog and minimaxi
have been considered:

DSqtwolog

Threshold values are calculated by using the universal
method given in (1) [4]

T; = 0,/ 2log (N) @)

where g; is the mean absolute deviation (MAD) and N;
is the length of a noisy signal, g; can beexpressed as
@

MAD, _ medianjw]|
o= = medianiol, »,
i = oeas ~ oaras D)

where, o represents wavelet coefficients at it level

4)Minimaxi

Minimaxi uses a fixed threshold value that yields a

minimy performance for mean square error against an

ideal procedure. The Minimax principle is used in
statistics in order to design estimators.

T= {0(0.3936+ 0.1829log, N) N > 32

0 N <32

@

WhereN is the length of the noisy signal andg is mean
absolute deviation of the wavelet coefficients as given
in equation 2.

C.Thresholding Rule

After selecting the appropriate threshold, it is applied
to the details coefficients at each level. There are two
types of thresholding such as hard and soft.

1) Hard Thresholding

In hard thresholding, the coefficients whose absolute
values are less than the threshold value, are set to be

B8R == e








(1)

where σi is the mean absolute deviation (MAD) and Ni is the length of a noisy signal, σi can be expressed as (2)
[image: image5.png][ von- I
== #AFind -
B s iwsomsn 10~ & |2 B[] [aamocene] nssbceoe AaB assbce AAB aazbe. sosoceo aoaeen - A | B

43 Copy e Replace.
Paste 7 U e x X Aar - & o Spaci..  Heading1  Headin 3 ubtitle  Subtie€m..  Emphasis - Change
F Fomatpanter | B £ T " sbe x. X' Aar|[® =& TNoSpaci.. Headingl Heading2 Tt Subtitle  Subtle Em... Emphas Sranse | [y seiet~

Clipboard. 0 Font Stytes 5| Editing

where g; is the mean absolute deviation (MAD) and N to the details coefficients at each level. There are two
is the length of a noisy signal, g can beexpressed as types of thresholding such as hard and soft.

@

1) Hard Thresholding

MAD, _ medianjw]|
o= = medianiol, »,
i = oeas ~ oaras D)

In hard thresholding, the coefficients whose absolute
where, © represents wavelet coefficients at ith level values are less than the threshold value, are set to be

zero. Otherwise_the_coefficients remainunchanged,
This is also known as keep or kill method[11].





where, ω represents wavelet coefficients at ith  level

2)  Rigrsure:
This threshold selection method is based on Stein’s Unbiased Risk Estimation (SURE), which calculates an estimate of the risk for a particular threshold value (T). Minimum risk can be calculated as given in (3) [4]
[image: image8.png]Home | Insert
E % cut
13 Copy

Paste

" Fomat painter
Gigbosra

Pagelayout  References

Times NewRoman - |10~

. Fhrina -
BUT] [aaptcene] astbceoe: AaB aspbee AAB aasbce. aasoceoe aaspeene ~ A | B
I Normat l

e Replace
B 7 U-abex x Aa|¥ [EREER ThoSpaci.. Headingl Heading2  Tite Subtite | Subti En... Emphasis | | Change | o o

Stytes 5| Editing

and high pass filter. Low frequency components are
called approximation coefficients while ~details

2) Rigrsure:

coefficients are high frequency components. After This threshold selection method is based on Stein’s
decomposition, the signal can be reconstructed using Unbiased Risk Estimation (SURE), which calculates
inverse discrete wavelet transform. A three level an estimate of the risk for a particular threshold value
decomposition structure is shown in figure 1. (T). Minimum risk can be calculated as given in (3)

[41

R=§ wN=[N—2i+ V=D, +

oL Tioioi] ®

f —>| <D2

The threshold can be calculated as T = ov/ay, o is the
> cat >| >3 standard deviation of the noisy signal, wy is the
Lo can wavelet coefficient square (minimal risk coefficient)
chosen from the vector W = [@1, @, ... 0 ]. Where or,
| cA3 @y, ... O are the square of the wavelet coefficient
Fig. 1. Three level wavelet decomposition arranged in ascending order.

DWT produces two coefficients at each level of 3) Hemsure
decomposition, which are detail and approximation
coefficients respectively. Approximation coefficients Heursure is a combination of rigrsure and sqtwolog
are further splitted at higher level of decomposition. thresholding methods, when signal to noise ratio is

i ients are 1 very small. In this case. rigrsure estiatimation is very
EEEEE z




                     (3)
The threshold can be calculated as, σ is the standard deviation of the noisy signal, ωk is the wavelet coefficient square (minimal risk coefficient) chosen from the vector W = [ω1, ω2, .., ωn ], where ω1, ω2, .., ωn are the square of the  wavelet coefficient arranged in ascending order.
3)  Heursure

Heursure is a combination of rigrsure and sqtwolog thresholding methods, when signal to noise ratio is very small. In this case, rigrsure estiatimation is very poor but sqtwolog provides the better threshold value.

4) Minimaxi

Minimaxi uses a fixed threshold value that yields a minimx performance for mean square error against an ideal procedure. The Minimax principle is used in statistics in order to design estimators. 


[image: image10.png]Home | Insert

Pagelayout  References

B

Faste

% cut
13 Copy

< Format panter

Clipboard.

s iwsomsn 10~ & |2 BU(] [aamocene] nssbceoe AaB assbce AAB aczbce. aasbeen acaceo - A&

B 7 U-ex ¥ A|¥-A =

TNoSpac.. Headingl Heading2 — Ttle Subtitle  Subtie Em.. Emphasis

Styles

crange

Stytes ~

HArna -

i Repiace

I select -
atting

Threshold selection is done by mathematical
calculation to provide the threshold value for
denoising. In this study, four thresholding methods
such as rigrsure, heursure, sqtwolog and minimaxi
have been considered:

DSqtwolog

Threshold values are calculated by using the universal
method given in (1) [4]

T; = 0,/ 2log (N) @)

where g; is the mean absolute deviation (MAD) and N;
is the length of a noisy signal, g can beexpressed as
@

MAD, _ me

L medaniol )

6745 06745

where, o represents wavelet coefficients at it level

Minimaxi uses a fixed threshold value that yields a
minimy performance for mean square error against an
ideal procedure. The Minimax principle is used in
statistics in order to design estimators.

T= {0(0.3936+ 0.1829log, N) N > 32}(4)
o N <32

WhereN is the length of the noisy signal andg is mean
absolute deviation of the wavelet coefficients as given
in equation 2.

C.Thresholding Rule
After selecting the appropriate threshold, it is applied
to the details coefficients at each level. There are two
types of thresholding such as hard and soft.

1) Hard Thresholding

In hard thresholding, the coefficients whose absolute
values are less than the threshold value, are set to be

B8R ==




(4)

Where N is the length of the noisy signal and σ is mean absolute deviation of the wavelet coefficients as given in equation 2.

C. Thresholding Rule

After selecting the appropriate threshold, it is applied to the details coefficients at each level. There are two types of thresholding such as hard and soft.

1)  Hard Thresholding

In hard thresholding, the coefficients whose absolute values are less than the threshold value, are set to be zero. Otherwise the coefficients remain unchanged. This is also known as keep or kill method [11].

[image: image12.png]PIDOST - Microsoft Word

2] | nasoeene| assocene AaB Aab 408bCcD: AaBbCED:
) jormal | 7 No Spaci... Heading1 — Heading 2 Title Subtitle  Subtle Em... Emphasis

Times New Roman 0 -|A N

B I U-ex x Aa|[¥-A

0 . . ; 5 ; i ; : ; : ; 3 ; g i 5
zero. Otherwise. the_coefficients remainunchanged Algorithm
This is also known as keep or kill method[11] &

T Add White Gaussian Noise to the signal

Select 2 wavelet filter and decomposition levels

®) ®
3. Take the kih level discrete wavelet transform
(DWT) of the input signal X, decomposing it into

k decomposition levels resulting into_ k detail

0 ldl= /1}

e = {d ldl > 2

where d is the value of wavelet coefficients, and  is

the threshold val
© threshold value coefficients and the kth Approximation
) component
2) Soft Thresholding 4 Caloulate the noise threshold for the k detail
components
In softthresholding, the coefficients whose absolute 5. Apply noise thresholding to the k selected detail
values are less than the threshold yalue, are set to be components
zero. Otherwise the coefficients are shrinked as given 6. Reconstruct the signal using thresholded k detail I
in the equation 6 cofficients and the kth approximation component. 5
0 ldl< 2 7. Evaluste the performance using the quality .
D) = !d -2 _d>2 1 (©) measure PSNR -
= @)

Page:4ofs | Words: 2735 EED

mLH\J\J Sl é a0 I





                         (5)

where d is the value of wavelet coefficients, and λ is the threshold value.

2) Soft Thresholding

In softthresholding, the coefficients whose absolute values are less than the threshold value, are set to be zero. Otherwise the coefficients are shrinked as given in the equation 6.

[image: image15.png]Insert  Pagelayout  References  Mailings  Review Vi

% . Mina-
; | TmesNewRoman - 10 (=] [i=- 1= - = = ulmmmlmmm AaB assbce AAB aasbee. asseeo aasbcen - A |
T Normat

o Do ; LR e
e o |B LU e A% A =2 Tspea. roangt voanoz e | swwe | swteem. copnws - Gnge| <L

Ciipboard 0 Font 2 Paragraph Styles 5| Editing

" ‘component
2) Soft Thresholding 4. Calculate the noise threshold for the k detail

Tn softthresholding, the coefficients whose absolute 5. Apply ::s‘sc thresholding to the k selected detail
values are less than the threshold yalue, are set to be components
zero. Otherwise the coefficients are shrinked as given 6. Reconstruct the signal using thresholded k detail
in the equation 6 cofficients and the kth approximation component.
0 ldl< 2 7. Evaluate the performance using the quality
DE(d|) = {j -2 d>2 } © measure PSNR

+24 d<-2

After calculating the threshold value the noisy signal is V. Experimental Results

denoised. block diagram and algorithm is given below.
‘The comparison of the well known threshold selection

[—— methods as rigrsure, heursure, sqtwolog and minimaxi
White Gassian nofse with wavelet filters (db2, db4, sym2, symd, coif2,
coif4) at different level of decomposition is given in
table 1 to table 6. Initially White Gaussian noise is
added to the original signal with different noise levels
‘Then the noisy signal is decomposed, thresholded and
reconstructed to get the denoised signal.

v

A Dataset

The dataset used in this work has been taken from
v Bonn University. Germany which is publicly
Signal Reconstruction available. The dataset consists of five sets (A-E) each

Page:4 016 | Words: 2735 | 5 |

iz . ) e -~

—




                   (6)
After calculating the threshold value the noisy signal is denoised, block diagram and algorithm is given below.

 SHAPE  \* MERGEFORMAT 



Figure 2. Block diagram of signal denoising

Algorithm
	1. Add White Gaussian Noise to the signal

2. Select a wavelet filter and decomposition levels (k) 

3. Take the kth level discrete wavelet transform (DWT) of the input signal X, decomposing it into k decomposition levels resulting into  k detail coefficients and the kth Approximation component.

4. Calculate the noise threshold for the k detail components.

5. Apply noise thresholding to the k selected detail components.

6. Reconstruct the signal using thresholded k detail cofficients and the kth approximation component.

7. Evaluate the performance using the quality measure PSNR




IV. Experimental Results
The comparison of the well known threshold selection methods as rigrsure, heursure, sqtwolog and minimaxi with wavelet filters (db2, db4, sym2, sym4, coif2, coif4) at different level of decomposition is given in table 1 to table 6. Initially White Gaussian noise is added to the original signal with different noise levels. Then the noisy signal is decomposed, thresholded and reconstructed to get the denoised signal.

A. Dataset

The dataset used in this work has been taken from Bonn University, Germany which is publicly available. The dataset consists of five sets (A-E) each set contains 100 single channel EEG signal. The sampling frequency of the signal is 173.61 Hz with a duration of 23.6s. A and B consist of EEG signalsrecorded from the healthy subjects with eyes open (A) and eyes closed (B). Sets C and D contain only EEG signal taken from the epileptic patients during seizure-free intervals whileset E contains signal during seizure.

B.  Quantative Measure
The signal quality measure such as Peak Signal to Noise Ratio (PSNR) has been used to evaluate the performance between original signal Si denoised signal Sd.[4] PSNR can be calculated as given in equation 7.

[image: image18.png]PSNR=10log;o




                                   (7)



where Smax is the maximum value of the signal calculated as
[image: image20.png]Smax = max(max(5;), max(5;))




                     (8)

MSE is calculated as given in equation 9. Where N is the length of the signal

[image: image22.png]MSE = —F¥_,15,() — 5;00) |2




                          (9)

The comparison results of denoising EEG signal corrupted by White Gaussian noise with various thresholding methods using wavelet filters (db2, db4, sym2, sym4, coif2 and coif4) at differnet level of decomposition are presented in following tables:

In summary, the performance of the Coif4 wavelet with soft thresholding at second level of decomposition gives the better result as compared to other wavelet filters and hard thresholding.It is clearly understoodfrom the above tables that among all the wavelet filter coif4 outperforms in terms of PSNR. 
[image: image23.png]Amplitude Amplitude

Amplitude

original signal

-
D'
2
0 500 1000 1500 2000 2500 3000 3500 4000 4500
a) Sample
noisy signal
5%
.
5
0 500 1000 1500 2000 2500 3000 3500 4000 4500
b) Sample
denoised
5%
B N e
5
0 500 1000 1500 2000 2500 3000 3500 4000 4500

pp——




Figure 3. (a) Original signal (b) White Gaussian noise added signal (c)Denoised signal
Table 1. with ‘Daubechies’ wavelet at level 2

	Wavelet 

  name
	Threshold

Rule
	Rigrsure
	Heursure
	Sqtwolog
	Minimaxi

	
	
	PSNR

	Db2
	Hard
	30.46
	30.45
	30.22
	30.38

	
	Soft
	30.58
	30.57
	30.37
	30.85

	Db4
	Hard
	30.46
	30.45
	30.89
	31.24

	
	Soft
	30.61
	30.61
	30.89
	31.25


Table 2.with ‘symlet’ wavelet at level2

	Wavelet 

Name
	Threshold

Rule
	Rigrsure
	Heursure
	Sqtwolog
	Minimaxi

	
	
	PSNR

	Sym2
	Hard
	30.46
	30.45
	30.22
	30.37

	
	Soft
	30.58
	30.57
	30.38
	30.85

	Sym4
	Hard
	30.46
	30.45
	30.34
	30.42

	
	Soft
	30.60
	30.60
	30.86
	31.18


Table 3.  with ‘coiflet’ wavelet at level2

	Wavelet

  name
	Threshold

Rule
	Rigrsure
	Heursure
	Sqtwolog
	Minimaxi

	
	
	PSNR

	Coif2
	Hard
	30.46
	30.45
	30.35
	30.58

	
	Soft
	30.60
	30.61
	30.35
	30.58

	Coif4
	Hard
	30.45
	30.44
	30.41
	30.61

	
	Soft
	30.62
	30.62
	31.07
	31.77


Table 4.  with ‘Daubechies’ wavelet at level3

	Wavelet 

  name
	Threshold

Rule
	Rigrsure
	Heursure
	Sqtwolog
	Minimaxi

	
	
	PSNR

	Db2
	Hard
	30.44
	30.44
	30.00
	30.29

	
	Soft
	30.58
	30.58
	29.21
	30.21

	Db4
	Hard
	30.44
	30.45
	30.15
	30.35

	
	Soft
	30.61
	30.61
	29.59
	30.53


Table 5.  with ‘symlet’ wavelet at level3

	Wavelet 

Name
	Threshold

Rule
	Rigrsure
	Heursure
	Sqtwolog
	Minimaxi

	
	
	PSNR

	Sym2
	Hard
	30.45
	30.45
	30.00
	30.30

	
	Soft
	30.59
	30.57
	29.20
	30.22

	Sym4
	Hard
	30.46
	30.42
	30.78
	31.13

	
	Soft
	30.59
	30.57
	30.63
	31.28


Table 6.  with ‘symlet’ wavelet at level3

	Wavelet 

Name
	Threshold

Rule
	Rigrsure
	Heursure
	Sqtwolog
	Minimaxi

	
	
	PSNR

	Coif2
	Hard
	30.45
	30.45
	30.14
	30.35

	
	Soft
	30.61
	30.61
	29.54
	30.50

	Coif4
	Hard
	30.45
	30.45
	30.20
	30.38

	
	Soft
	30.62
	30.61
	30.29
	30.65


V. Conclusion and Future Scope 
In this paper, EEG signal denoising using discrete wavelet transform based on thresholding is performed. Initially, White Gaussian noise is added to the signal at noise level 20db and DWT is used to decompose the noisy signal into approximation and detail coefficients at different levels. Details coefficients at each level are then thresholded using hard and soft thresholding. It is observed that minimaxi threshold estimation with soft thresholding using wavelet filter coif4 performs better in terms of PSNR. The result shows that as the level of decomposition increases,PSNR does not improve.

References

[1] V. Singh, R. Sharma,“Performance Comparison of Denoising Methods of Electroencephalogram”International Journal of Engineering Research & Technology, Vol.3 Issue.9,2014

[2] M. Mamun, M. Al-Kadi, M. Marufuzzaman,“Effectiveness of Wavelet Denoising on Electroencephalogram Signals” Journal of Applied Research and Technology, Vol.11, pp.156-160, 2013

[3] S. Sudha, G. R. Suresh, R. Sukanesh,“Wavelet based image denoising using adaptive thresholding” In the proceedings of the 2007 International Conference on Computational Intelligence and Multimedia Applications (ICCIMA), pp.296–300, 2007

[4] A. K. Verma, N. Verma,“Performance analysis of wavelet thresholding methods in denoising of audio signals of some indian musical instruments”  International Journal of Engineering Science Technology, vol.4, No.5, pp.2047–2052, 2012

[5] V. Krishnaveni, S. Jayaraman, S. Aravind, V. Hariharasudhan, K. Ramadoss,“Automatic identification and removal of ocular artifacts from EEG using wavelet transform”Measurement Science Review, Vol.6, No.4,pp.45-57,2006

[6] P. SenthilKumar, R. Arumuganathan, K. Sivakumar, C. Vimal,“Removal of ocular artifacts in the EEG through wavelet transform without using an EOG reference channel”Int. J. Open Problems Compt. Math., Vol.1, No.3,pp.188-200,2008

[7] N. K. Al-Qazzaz, S. Ali, S. A. Ahmad, M. S. Islam, and M. I. Ariff,“Selection of mother wavelets thresholding methods in denoising multi-channel EEG signals during working memory task”In the proceedings of 2014 IEEE Conference on Biomedical Engineering and Sciences, pp. 214–219, 2014

[8] TP. Jung, S. Makeig, C. Humpheries, T. Lee, M.J. Mckeown, V. Iragui, T.J. Sejnowski,“Removing electroencephalographic artifacts by blind source separation”Psychophysiology 37, pp.163–1782000

[9]  S. Lahmiri, M. Boukadoum,“A Weighted Bio-signal Denoising Approach Using Empirical Mode Decomposition”The Korean Society of Medical & Biological Engineering and Springer, Vol.5, Issue.2, pp.131-139,2015

[10] K. Thangavel, K. Sasirekha,“Denoising Iris Image Using a Novel Wavelet Based Threshold” In the proceedings of Digital Connectivity – Social Impact. CSI pp. 57-69, 2016
Authors Profile
[image: image24.jpg]


Dipali Sinha  was born in Kanpur, Uttar Pradesh (UP), India, in 1981. She received the Bachelor of Science degree from chhatrapati shahuji maharaj university kanpur, UP, India, in 2000 and Master of Computer Applications from U.P.Technical University, Lucknow, India in 2005. She obtained her M.E. degreefrom Vinayaka Mission University, Salem in 2014. She is currentlypursuing Ph.D. in the Department of Computer Science, Periyar university, Salem. 

[image: image25.png]


 Dr. K. Thangavel was born in Namakkal at 1964, Tamilnadu, India.  He received his Masterof Science in Mathematics from Bharathidasan University in 1986, and Master of Computer Applications from Madurai Kamaraj University, India in 2001. He obtained his Ph.D. Degree from the Department of Mathematics, Gandhigram Rural Institute-Deemed University, Gandhigram, India in 1999. Currently he is working as Professor and Head, Department of Computer Science, Periyar University, Salem.  He is a recipient of Tamilnadu Scientist award for the year 2009.  His area of interests includes Medical Image Processing, Bioinformatics, Artificial Intelligence, Neural Network, Fuzzy logic, Data Mining and Rough Set.
Signal with added White Gaussian noise





DWT Decomposition





Threshold Detail Coefficients





Signal Reconstruction





De-noised Signal








  © 2018, IJCSE All Rights Reserved                                                                                                                                        214

